## Gap Analysis

| Date: | June 15, 2015 |
| --- | --- |
| DMA Name: | DMA 79 - Contentment Island |
| Prepared By: | Jim O’Dowd, PE |

# DMA Characteristics

- No. of Meters = 137

- No. of Meters with Smart Points = 0 (116 on Remote Read)

- No. of Meters without Smart Points = 137

- No. of Empty Setters = 21

- No. of DMA Meters = 0

- Monitoring Type of DMA Meter = Unknown

- No. of Sources = 0

- No. of Discharges= 0

- Primary Source = Contentment Island Wells

- DMA Zone Type = Complex

# Summary

This zone cannot be analyzed until DMA meters are installed on the wells.

# Action Items

      - Investigations

- None.

      - Meter Replacements/Installations

- Contentment Island Well meters.

# Map