## Sewer
Project Name | Daleville Town Center Phase 2C Sedgewood
Contractor | Brown's Excavating
Install Date | 2019-12-27
Sewer Gravity Main(s)
Manufacturer
Diameter
Pipe Class
Material
Comments
Sewer Force Main(s)
Manufacturer
Diameter
Pipe Class
Material
Comments
Sewer Gravity Lateral(s)
Manufacturer | Diamond
Diameter | 4
Pipe Class | D3034 DR 26
Material | Polyvinyl Chloride (PVC)
Comments
Sewer Manhole(s)
Manufacturer
Material
Ring & Cover Manuf.
Cover Type
Comments

## Water
Project Name | Daleville Town Center Phase 2C Sedgewood
Install Contractor | Brown's Excavating
Install Date | 2019-12-27
Water Main
Manufacturer
Diameter
Pipe Class
Material
Comments
Water Service(s)
Manufacturer | Endot
Diameter | 1
Pipe Class | PE4710
Material | High Density Polyethylene(HDPE)
Comments
Water Valve
Manufacturer
Valve Type
Diameter
Direction to Open / Turns to Close
Comments
Water Valve
Manufacturer
Valve Type
Diameter
Direction to Open / Turns to Close
Comments
Hydrant
Authority ID #
Manufacturer
Model
Cast Date
Static Pressure
Comments

## ChoiceList
0.5 | ACIPCO | Ductile Iron (DIP) | A.J.Conner | C151 Class 250 | <WATER | Ductile Iron Pipe (DIP) | 1 | C151 Class 350 | ACIPCO | American | Economy Plumbing, Inc. |  | Bolted
0.75 | American | High Density Polyethylene(HDPE) | Alleghany Construction | C151 Class 300 | SEWER> | High-density polyethylene (HDPE) | 1.25 | C151 Class 51 | American | CP&P | Grindstaff Underground Utilities | Glass Reinforced Plastic(Fiberglass) | Cam Lock
1 | Atlantic States | Poly Vinyl Chloride(PVC) | BCI,INC. | C151 Class 350 |  | Polyethylene (PE) | 2 | C151 Class 52 | Diamond | Eastern Vault | Joe Bandy and Sons, Inc. | HDPE | Solid Nonwatertight
1.25 | Diamond Plastics Corp | Pre-stressed Concrete Cylinder Pipe (PCCP) | Cave Spring Construction | C151 Class 50 |  | Polyvinyl Chloride (PVC) | 3 | C900 DR 14 | Driscoplex | Permatile | JWB Contractors | Cast-In-Place (In-Situ) | Standard Watertight
1.5 | Endot | Reinforced Concrete (RCP) | Double K | C151 Class 51 |  | Pre-stressed Concrete Cylinder Pipe (PCCP) | 4 | C900 DR 18 | Endot | CSI Precast | Kingery Bros. | Precast Concrete Units | Vented
2 | Griffin | Unknown | E.C. Pace | C151 Class 52 |  | Reinforced Concrete Pipe (RCP) | 6 | C906 DR 11 | Evergreen | Diamond | L & S Plumbing & Excavating Inc | PVC
3 | National |  | Joe Bandy and Sons,Inc. | C900 DR 14 |  | Unknown | 8 | C906 DR 13.5 | Flying W | Hanson | Lumsden Associates, P. C.
4 | North American |  | EPI | C900 DR 18 |  |  | 10 | C906 DR 17 | Griffin | National | Matt Holt
6 | PW Eagle | Air Release | Field Operations | C900 DR 25 |  |  | 12 | C906 DR 9 | Jetstream | Ultra-Rib | McNew & Co.
8 | Streamline | Altitude | Frattalone Companies | C906 DR 11 |  |  | 14 | C909 Class 165 | J-M Manufacturing | Unknown | Parsell and Zeigler Construction Co.
10 | U.S. Pipe | Auto Flushing | H. T. Bowling, Inc | C906 DR 13.5 |  |  | 15 | C909 Class 235 | National |  | Peterson Construction, LLC
12 | Unknown | Ball | Hubbard Excavating | C906 DR 17 |  |  | 16 | C909 Class 305 | North American | Capital Foundary | Phillip Lile
14 |  | Butterfly | Jack St. Clair | C906 DR 9 |  |  | 18 | D2241 DR 21 | OPC | EJIW | Poff & Son Excavation
16 |  | Check | Jones & Sons Excavation | C909 Class 235 |  |  | 20 | D2241 DR 26 | Unknown | PAM | Ray Sink Construction
18 | American Flow Control (AFC) | Diaphragm | L & S Plumbing & Excavating | C909 Class 305 |  |  | 21 | D3034 DR 26 | Price Brothers | US Foundary | Raymond Johnson Excavating
20 | American Valve | Double Check | Magic City Sprinkler | D2241 DR 21 |  |  | 24 | D3034 DR 35 | PW Eagle | Unknown | Reed Construction
24 | Ames | Gate | Matt Holt | PE4710 |  |  | 27 | F794 | US Pipe |  | RL Lucas Construction, Inc.
30 | AP Smith | Gate-Resilient Seat | Reed Construction | Type K |  |  | 30 | PCCP C301 | Vulcan |  | RL Price
36 | APCO | Pitot Station | RL Price | Unknown |  |  | 33 | SCH 40 |  |  | SC Rossi & Co., Inc.
42 | AVK | Plug | Roanoke Sprinkler |  |  |  | 36 | Unknown |  |  | Siteworks
48 | Clay-Val | Pressure Reducing | S.C. Rossi & Co. Inc. |  |  |  | 42 |  |  |  | South End Construction
60 | Clow | Pressure Sustaining | Siteworks |  |  |  | 48 |  |  |  | Southwest Excavating
| Crane | Pressure Vaccum | Virginia Sprinkler |  |  |  | 54 |  |  |  | Town and Country Plumbing
0.5 | Darling | Reduced Pressure Backflow | W&L Construction |  |  |  | 60 |  |  |  | Turn Key Builders, Inc.
0.75 | Eddy | Reduced Pressure Vaccum | Wells Construction |  |  |  | 66 |  |  |  | W & L
1 | Fairbanks | Sluice | WVWA | [7 empty] | Wells Construction
1.25 | Glamorgan | Stop Cock | [8 empty] | WVWA
1.5 | Jenkins | Surge Relief
2 | K & J |  | Copper
3 | Kennedy |  | Ductile Iron (DIP)
4 | Lunkenheimer |  | High Density Polyethylene(HDPE)
6 | M & H |  | Poly Vinyl Chloride(PVC)
8 | Mal |  | Pre-stressed Concrete Cylinder Pipe (PCCP)
10 | Mueller |  | Reinforced Concrete (RCP)
12 | Powell |  | Unknown
14 | Ross
16 | Select
18 | Simplex
20 | U5B
24 | Valmatic Corp. | 107
30 | Watts | 2780
36 |  | 27-80
48 |  | 584N
A423
AVK 2780
| American Flow Control (AFC) | B843
| AVK | B84B
| Clow | B84B-5
| Darling | CENT A 423
| Kennedy | K10B
| M&H | K11
| Mueller | K12
| Unknown | K81
| US Pipe | K81A
K81D
MK 73-2
Unknown