SECTION 01340

SHOP DRAWINGS, PRODUCT DATA, AND SAMPLES

PART 1	GENERAL

1.01		REQUIREMENTS INCLUDED

A.	Procedures for submittals.

1.02		RELATED REQUIREMENTS

A.	Conditions of the Contract.

B.	Specified elsewhere:

1.	Section 01700 - Contract Closeout

1.03		SHOP DRAWINGS

A.	Present in a clear and thorough manner.  Title each drawing with Project and Contract name and number; identify each element of drawings by reference to sheet number and detail, schedule, or room name of Contract Documents.  All equipment and materials shall have shop drawings submitted for them.  Shop drawings shall be throughly checked by the fabricator and contractor prior to being submitted.

B.	Identify field dimensions; show relation to adjacent or critical features or Work or products.

C.	Minimum Sheet Size:  82 inches x 11 inches.

1.04		PRODUCT DATA

A.	Submit only pages which are pertinent; mark each copy of standard printed data to identify pertinent products, referenced to Specification Section and Article number.  Show reference standards, performance characteristics, and capacities; wiring and piping diagrams and controls; components parts; finishes; dimensions; and required clearances.

B.	Modify manufacturer's standard schematic drawings and diagrams to supplement standard information and to provide information specifically applicable to the Work.  Delete information not applicable.

1.05		MANUFACTURER'S INSTRUCTIONS

A.	Manufacturer's instructions for storage, preparation, assembly, installation, adjusting, balancing, and finishing under provisions of Section 01400.

1.06		CONTRACTOR REVIEW

A.	Review submittals prior to transmittal; determine and verify field measurements, field construction criteria, manufacturer's catalog numbers, and conformance of submittal with requirements of Contract Documents.

B.	Coordinate submittals with requirements of Work and of Contract Documents.

C.	Sign or initial each sheet of shop drawings and product data, and each sample label to certify compliance with requirements of Contract Documents.  Notify Engineer in writing at time of submittal, of any deviations from requirements of Contract Documents.

D.	Do not fabricate products or begin work which requires submittals until return of submittal with Engineer acceptance.

1.07		SUBMITTALS REQUIREMENTS

A.	Furnish submittals specified in sections of the specifications, and for all equipment and materials used in the project.

B.	Transmit submittals in accordance with approved Progress Schedule and in such sequence to avoid delay in the Work or work of other contracts.

C.	Provide 8 x 4 inch blank space on each submittal for Contractor and Engineer stamps.

D.	Apply Contractor's stamp, signed or initialed, certifying to review, verification of products, field dimensions and field construction criteria, and coordination of information with requirements of Work and Contract Documents.

E.	Coordinate submittals into logical groupings to facilitate interrelation of the several items:

1.	Associated items which require correlation for efficient function or for installation.

F.	Submit one reproducible transparency or five opaque copies of shop drawings.

G.	Submit number of copies of product data and manufacturer's instructions contractor requires, plus three copies which will be retained by Engineer.

H.	Submit number of samples specified in individual Specifications sections.

I.	Submit under transmittal letter.  Identify Project by title and number.  Contract by number.  Identify Work and product by Specifications section and Article number.

1.09		RESUBMITTALS

A.	Make resubmittals under procedures specified for initial submittals; identify changes made since previous submittal.

1.10		ENGINEER'S REVIEW

A.	Engineer will review shop drawings, product data, and samples and return submittals within ten days of receipt.

1.11		DISTRIBUTION

A.	Duplicate and distribute reproductions of shop drawings, copies of product data, and samples, which bear Engineer's stamp of approval, to job site file, Record Documents file, subcontractors, suppliers and other entities requiring information.

PART 2	PRODUCTS - Not Used

PART 3	EXECUTION - Not Used

END OF SECTION