SECTION 01500

CONSTRUCTION FACILITIES AND TEMPORARY CONTROLS

PART 1	GENERAL

1.01		REQUIREMENTS INCLUDED

A.	Electricity, Lighting.

B.	Heat, Ventilation.

C.	Telephone Service.

D.	Water.

E.	Sanitary Facilities.

F.	Barriers.

G.	Enclosures.

H.	Protection of Installed Work.

I.	Security.

J.	Water Control.

K.	Cleaning During Construction.

L.	Project Identification.

M.	Field Offices and Sheds.

1.02		RELATED REQUIREMENTS

A.	Specified elsewhere:

1.	Section 01010 - Summary of Work

1.03		ELECTRICITY, LIGHTING

A.	Provide service required for construction operations, with branch wiring and distribution boxes located to allow service and lighting by means of construction-type power cords.

B.	Provide lighting for construction operations.

1.04		HEAT, VENTILATION

A.	Provide as required to maintain specified conditions for construction operations, to protect materials.

1.05		TELEPHONE SERVICE

A.	Provide telephone service to field offices.

1.06		WATER

A.	Provide service required for construction operations.  Extend branch piping with outlets located so that water is available by use of hoses.

1.07		SANITARY FACILITIES

A.	Provide and maintain required temporary facilities and enclosures.

1.08		BARRIERS

A.	Provide as required to prevent public entry to construction areas and to protect existing facilities and adjacent properties from damage from construction operations.

B.	Provide barriers around trees and plants designated to remain.  Protect against vehicular traffic, stored materials, dumping, chemically injurious materials, and puddling or continuous running water.

1.09		PROTECTION OF INSTALLED WORK

A.	Provide temporary protection for installed products.  Control traffic in immediate area to minimize damage.

B.	Prohibit traffic and storage on lawn and landscaped areas.

1.10		WATER CONTROL

A.	Grade site to drain.  Maintain excavations free of water.  Provide and operate pumping equipment.

1.11		CLEANING DURING CONSTRUCTION

A.	Control accumulation of waste materials and rubbish; periodically dispose of off-site.

1.12		PROJECT IDENTIFICATION

A.	Provide 8 x 4 foot Project identification sign of wood frame and exterior grade plywood construction, painted, with lettering by professional sign painter, to Engineer's design and colors.  Listed title of Project, names of Owner, Engineer, professional consultants, Contractor and major subcontractors.

B.	Erect on site at location established by Engineer.

C.	Allow no other signs to be displayed.

1.13		REMOVAL

A.	Remove temporary materials, equipment, services, and construction prior to Substantial Completion inspection.

B.	Clean and repair damage caused by installation or use of temporary facilities.  Remove underground installation to a depth of 2 feet; grade site as indicated.  Restore existing facilities used during construction to specified, or to original condition.

PART 2	PRODUCTS - Not Used

PART 3	EXECUTION - Not Used

END OF SECTION