SECTION 01570

TRAFFIC REGULATION

PART 1	GENERAL

1.01		REQUIREMENTS INCLUDED

A.	Construction Parking Control.

B.	Flagmen.

C.	Flares and Lights.

D.	Haul Routes.

E.	Traffic Signs and Signals.

F.	Removal.

1.02		RELATED REQUIREMENTS

A.	Specified elsewhere:  Section 02080 - Traffic, Property, and Utility Maintenance and Coordination.

PART 2	PRODUCTS

2.01		SIGNS, SIGNALS, AND DEVICES

A.	Post-mounted and wall-mounted traffic control and informational signs.

B.	Traffic Control Signals:  As approved by the City of Roanoke.

C.	Traffic Cones and Drums, Flares and Lights:  As approved by the City of Roanoke.

D.	Flagman Equipment:  As required by the City of Roanoke.

PART 3	EXECUTION

3.01		CONSTRUCTION PARKING CONTROL

A.	Control vehicular parking to prevent interference with public traffic and parking, access by emergency vehicles.

B.	Monitor parking of construction personnel's vehicles.  Maintain vehicular access to and through parking areas.

C.	Prevent parking on or adjacent to access roads or in non-designated areas.

3.02		FLAGMEN

A.	Provide trained and equipped flagmen to regulate traffic when construction operations or traffic encroach on public traffic lanes.

3.03		FLARES AND LIGHTS

A.	Use flares and lights during hours of low visibility to delineate traffic lanes and to guide traffic.

3.04		HAUL ROUTES

A.	Consult with authorities, establish public thoroughfares to be used for haul routes and site access.

B.	Confine construction traffic to designated haul routes.

C.	Provide traffic control at critical areas of haul routes to regulate traffic, to minimize interference with public traffic.

3.05		TRAFFIC SIGNS AND SIGNALS

A.	At approaches to site and on site, install at crossroads, detours, parking areas and elsewhere as needed to direct construction and affected public traffic.

B.	Install and operate traffic control signals to direct and maintain orderly flow of traffic in areas under Contractor's control and areas affected by Contractor's operations.

C.	Relocate signs and signals as Work progresses, to maintain effective traffic control.

3.06		REMOVAL

A.	Remove equipment and devices when no longer required.  Repair damage caused by installation.  Remove post settings to a depth of 2 feet.

END OF SECTION