SECTION 01600

MATERIAL AND EQUIPMENT

PART 1 	GENERAL

1.01		REQUIREMENTS INCLUDED

A.	Products.

B.	Transportation and Handling.

C.	Storage and Protection.

D.	Product Options.

E.	Products List.

F.	Substitutions.

G. 	Systems Demonstration.

1.02		RELATED REQUIREMENTS

A.	Specified elsewhere:

1.	Section 01090 - Reference Standards

2.	Section 01340 - Shop Drawings, Project Data and Samples

1.03		PRODUCTS

A.	Products include material, equipment, and systems.

B.	Comply with Specifications and referenced standards as minimum requirements.

C.	Components required to be supplied in quantity within a Specification section shall be the same, and shall be interchangeable.

1.04		TRANSPORTATION AND HANDLING

A.	Transport products by methods to avoid product damage; deliver in undamaged condition in manufacturer's unopened containers or packaging, dry.

B.	Provide equipment and personnel to handle products by methods to prevent soiling or damage.

C.	Promptly inspect shipments to assure that products comply with requirements, quantities are correct, and products are undamaged.

1.05		STORAGE AND PROTECTION

A.	Store products in accordance with manufacturer's instructions, with seals and labels intact and legible.  Store within temperature and humidity ranges required by manufacturer's instructions.

B.	Store loose granular materials on solid surface in a well-drained area; prevent mixing with foreign matter.

C.	Arrange storage to provide access for inspection.  Periodically inspect to assure products are undamaged, and are maintained under required conditions.

1.06		PRODUCT OPTIONS

A.	Products Specified by Reference Standards or by Description Only:  Any product meeting those standards.

B.	Products Specified by Naming One or More Manufacturers with a Provision for Substitutions:  Submit a request for substitution for any manufacturer not specifically named.

1.07		PRODUCTS LIST

A.	Within 15 days after date established in Notice to Proceed, submit complete list of major products proposed for use, with name of manufacturer, trade name, and model number of each product.

1.08		SUBSTITUTIONS

A.	Only within 15 days after date established in Notice to Proceed will Engineer consider requests from Contractor for substitutions.  Subsequently, substitutions will be considered only when a product becomes unavailable due to no fault of Contractor.

B.	Document each request with complete data substantiating compliance of proposed substitution with Contract Documents.

C.	Request constitutes a representation that Contractor:

1.	Has investigated proposed product and determined that it meets or exceeds, in all respects, specified product.

2.	Will provide the same warranty for substitution as for specified product.

3.	Will coordinate installation and make other changes which may be required for Work to be complete in all respects.

4.	Waives claims for additional costs which may subsequently become apparent.

D.	Substitutions will not be considered when they are indicated or implied on shop drawings or product data submittals without separate written request, or when acceptance will require substantial revision of Contract Documents.

E.	Engineer will determine acceptability of proposed substitution, and will notify Contractor of acceptance or rejection in writing within a reasonable time.

F.	Only one request for substitution will be considered for each product.  When substitution is not accepted, provide specified product.

PART 2	PRODUCTS - Not Used

PART 3	EXECUTION - Not Used

END OF SECTION