SECTION 01700

CONTRACT CLOSEOUT

PART 1	GENERAL

1.01		REQUIREMENTS INCLUDED

A.	Closeout Procedures.

B.	Final Cleaning.

C.	Project Record Documents.

D.	Operation and Maintenance Data.

E.	Warranties and Bonds.

F.	Spare Parts and Maintenance Materials.

1.02		RELATED REQUIREMENTS

A.	Conditions of the Contract.

B.	Specified elsewhere:

1.	Section 01010 - Summary of Work

2.	Section 01500 - Construction Facilities and Temporary Controls

1.03		CLOSEOUT PROCEDURES

A.	Comply with procedures stated in General Conditions of the Contract for issuance of Certificate of Substantial Completion.

B.	When Contractor considers Work has reached final completion, submit written certification that Contract Documents have been reviewed, Work has been inspected, and that Work is complete in accordance with Contract Documents and ready for Engineer's inspection.

C.	In addition to submittals required by the conditions of the Contract, provide submittals required by governing authorities, and submit a final statement of accounting giving total adjusted Contract Sum, previous payments, and sum remaining due.

D.	Engineer will issue a final Change Order reflecting approved adjustments to Contract Sum not previously made by Change Order.

1.04		FINAL CLEANING

A.	Execute prior to final inspection.

B.	Clean interior and exterior surfaces exposed to view;  remove temporary labels, stains and foreign substances, polish transparent and glossy surfaces, vacuum carpeted and soft surfaces.  Clean equipment and fixtures to a sanitary condition, clean or replace filters of mechanical equipment.  Clean roofs, downspouts, and drainage systems.

C.	Clean site;  sweep paved areas, rake clean other surfaces.

D.	Remove waste and surplus materials, rubbish, and construction facilities from the Project and from the site.

1.05		PROJECT RECORD DOCUMENTS

A.	Store documents separate from those used for construction.

B.	Keep documents current;  do not permanently conceal any work until required information has been recorded.

C.	At Contract closeout, submit documents with transmittal letter containing date, Project title, Contractor's name and address, list of documents, and signature of Contractor.

1.06		OPERATION AND MAINTENANCE DATA

A.	Provide operation and maintenance data for all equipment in the project and as required by the individual specification sections.

B.	Submit two sets prior to final inspection, bound in 8-1/2 X 11 inch (216 X 279mm) three-ring side binders with durable plastic covers.

C.	Provide a separate volume for each system, with a table of contents and index tabs for each volume.

D.	Part 1:  Directory, listing names, addresses, and telephone numbers of:  Engineer and Contractor.

1.07		WARRANTIES AND BONDS

A.	Provide duplicate, notarized copies.  Execute Contractor's submittals and assemble documents executed by subcontractors, suppliers, and manufacturers.  Provide table of contents and assemble in binder with durable plastic cover.

B.	Submit material prior to final application for payment.  For equipment put into use with Owner's permission during construction, submit within 10 days after first operation.  For items of Work delayed materially beyond Date of Substantial Completion, provide undated submittal within ten days after acceptance, listing date of acceptance as start of warranty period.

PART 2	PRODUCTS - NOT USED

PART 3	EXECUTION - NOT USED

END OF SECTION