SECTION 02524

CONCRETE WALKS

PART 1	GENERAL

1.01		WORK INCLUDED

A.	Concrete walks as shown on the Drawings and specified herein.

1.02		QUALITY ASSURANCE

A.	Walks on public property shall comply with all laws, rules and regulations of governmental authorities having jurisdiction over such work.

1.03		REFERENCES

A.	American Concrete Institute (ACI).

1.	305R-77 Hot Weather Concreting.

2.	306R-78 Cold Weather Concreting.

B.	American Society for Testing Materials (ASTM).

1.	C31-69 Standard Method of Making and Curing Concrete Test Specimens in the Field.

2.	C33-82 Standard Specifications for Concrete Aggregates.

3.	C39-81 Standard Test Method for Compressive Strength of Cylindrical Concrete Specimens.

4.	C94-81 Standard Specification for Ready-Mixed Concrete.

5.	C143-78 Standard Text Method for Slump of Portland Cement Concrete.

6.	C150-81 Standard Specification for Portland Cement.

7.	C173-82 Standard Test Method for Air Content of Freshly Mixed Concrete by Volumetric Method.

8.	C192-81 Standard Method of making and Curing Concrete Test Specimens in the Laboratory.

9.	C231-82 Standard Test Method for Air Content of Freshly Mixed Concrete by the Pressure Method.

10.	D994-71 Standard Specification for Preformed Expansion Joint Filler for Concrete (Asphalt Type).

11.	D1751-73 Standard Specification for Preformed Expansion Joint Fillers for concrete Paving and Structural Construction (nonextruding and Resilient Asphalt Types).

1.04		TESTING SERVICES

A.	The testing laboratory will be responsible for conducting and interpreting tests, state in each report whether or not the test specimens conform to all requirements of the Contract Documents and specifically note any deviation therefrom.

B.	Specific test and inspection requirements shall be as specified herein.

1.05		DELIVERY, STORAGE AND HANDLING

A.	Deliver, handle and store material at the job site in such a manner as to prevent damage.  Packaged material shall be in original containers with seals unbroken and labels intact until time of use.  All damaged or otherwise unsuitable material when so ascertained shall be immediately removed from the job site.

PART 2	PRODUCTS

2.01		ACCEPTABLE MANUFACTURERS

A.	Sika Chemical Co.

Lyndhurst, NJ  07071

B.	Master Builders

Cleveland, OH  44118

C.	W.R. Grace

Cambridge, MA  02140

D.	W.R. Meadows, Inc.

Elgin, IL  60606

E.	Guardian Chemical Company

Atlanta, GA  30301

F.	Celotex Corporation

Tampa, FL  33622

G.	Tamms Industries Co.

Itasca, IL  60143

H.	PPG Industries

One Gateway Center

Pittsburgh, PA  15222

I.	Sunnyside Corporation

Wheeling, IL  60090

2.02		MATERIALS

A.	Portland Cement:  ASTM C 150, Type 1, normal portland cement; uniform gray color, from single source.

B.	Aggregates:  All fine and coarse aggregate shall conform to ASTM C 33.

1.	Fine Aggregates:  Natural or artificial, hard clean sand.

2.	Coarse Aggregates:  Crushed stone, size 57.

C.	Water:  Potable.

D.	Air Entraining Admixture:  ASTM C 260;

1.	Sika AER				Sika Chemical

2.	MB-VR				Master Builders

3.	Darex AEA				W.R. Grace

E.	Dowel Bars:  ASTM A 675, plain, with metal sleeves.

F.	Liquid Membrane Curing Compound:	ASTM C 309, Type 1;

1.	Horncure 30C				W.R. Grace

2.	WR-30 Curing Compound		W.R. Meadows

3.	Clear Bond				Guardian Chemical

G.	Preformed Fiber Joint Filler:	ASTM D 1751;

1.	Fiber Expansion Joint Filler,

Code 1390"				W.R. Grace

2.	Fibre Expansion Joint			W.R. Meadows

3.	Flexcell				Celotex

non-extruding, for expansion joints which are to be sealed.

H.	Preformed Asphalt Joint Filler:  ASTM D 994;

1.	Code 1301				W.R. Grace

2.	Asphalt Expansion Joint"		W.R. Meadows

3.	Elastic Asphalt Expansion Joint	Celotex

for expansion joints which are

not sealed.

I.	Anti-Spalling Compound:

1.	Tri-Dar 66/1A			Tamms Industries

- Deepgard				PPG Industries

3.	Sunnyside Anti-Spalling Cmpd.	Sunnyside

2.03		PROPORTIONING AND MIXING

A.	The testing laboratory shall design the mix for the concrete to obtain a strength, as determined by test cylinders, at least 15 percent higher than specified.

B.	The adequacy of the design shall be verified by tests on standard cylinders; 1 tested at 7 days and 1 at 28 days, in accordance with ASTM C 39 and ASTM C 192.

C.	The testing laboratory shall submit the copies of the mix design and the test results to the Authority for approval before any concrete is placed.

D.	Cement content shall be in accordance with the following minimum requirements:

1.	Design Strength			Cement Content

psi					sacks/cubic yard

3500					5.5

E.	Ready-Mixed concrete shall conform with ASTM C 94.

F.	The mixture shall contain no more water than is necessary to produce concrete which is workable and plastic within the limits specified herein for slump.  The amount of water and proportion of mortar to coarse aggregate shall be the least which will produce uniformly dense concrete, free from aggregate pockets or honeycomb.  Corrections shall be made for the amount of moisture contained in the aggregates and allowances shall be made for absorption of moisture by the aggregates during the period of mixing and handling.  A uniform consistency shall be maintained continuously.  Mixture shall contain 5-7 percent air entrainment.  No calcium chloride shall be used.

G.	The consistency shall be determined by the method specified in ASTM C 143.

H.	In general the slump shall be not less than 3 nor more than 5 inches for concrete which is not compacted by vibration; and not less than 2 or more than 4 inches for concrete which is compacted by vibration.  In each of the above cases, slumps outside of the limits named may be used when satisfactory workability cannot be obtained within such limits and the slump is approved by the Authority.

PART 3	EXECUTION

3.01		PREPARING SUBGRADE

A.	Prior to fine grading, the rough grade shall be tamped or rolled until thoroughly compacted and shall be constructed true to grade and cross section.

B.	Fine grading and filling shall be performed using sand, or other granular subbase, uniformly graded.  Subgrade shall not be built-up under forms after forms are in place.  Subgrade shall be tested with an approved template.  High spots shall be lowered and low spots raised.  Subbase shall be compacted and leveled to grade.

C.	Wet the prepared subgrade to ensure a moist condition when concrete is placed.

3.02		FORMS FOR WALKS

A.	Side forms for walks shall be of lumber of not less than 2 inches nominal thickness or of steel of equal rigidity.  They shall be held securely in place by stakes or braces, with the top edges true to line and grade.  The forms for walks shall be set so that the slabs shall have a fall of 1 inch vertical to 5 feet horizontal from the edge nearest the structure or property line toward the edge farthest from the structure or property line.  Forms for the aprons shall have a uniform fall between the walk proper and the curb grade.

3.03		PLACING AND FINISHING WALKS

A.	The concrete shall be placed in successive batches for the entire width of the slab, struck off from 2 to 3/4 inch higher than the finished slab, tamped until all voids are removed and free mortar appears on the surface, thoroughly spaded along the edges, struck off to the true grade, and finished to a true and even surface with floats and trowels.  The final troweling shall be done with a steel trowel, leaving a smooth, even surface.  After the water sheen has disappeared, the surface shall be given a final finish by brushing with a white wash brush.  The brush shall be drawn across the walks at right angles to the edges of the walks, with adjacent strokes slightly overlapping, producing a uniform, slightly roughened surface with paralleled brush marks.

B.	The surface shall be divided by grooves which extend to 1/4 the depth of the walks, shall be not less than 1/8 inch and not more than 1/4 inch in width, and shall be edged with an edging tool having a 1/4 inch radius.  No slab shall be longer than 6 feet nor less than 4 feet on any one side, unless otherwise shown.  The edges of the slabs shall be edged as described above.  The joint pattern shall be as shown on the Drawings.

C.	Expansion joints shall consist of preformed joint fillers of the thickness specified below.  The top of the joint shall be placed 1/8 inch below the surface of the walks for unsealed joints and 5/8 inch below the surface of the walks for joints to be sealed.  Where the walks are constructed adjacent to pavements or curbs having expansion joints, the expansion joints in the walks shall be placed opposite the existing expansion joints as nearly as practicable.  Expansion joints shall also be placed where the walks abut existing walks, and where walks abut curbs.

1.	One-half inch (1/2 inch) thick expansion joints shall be placed between the walks and all structures such as light standards and buildings which extend through the walks, and at all locations where a thicker expansion joint is not specifically required.

2.	Three-fourth inch (3/4 inch) thick expansion joints shall be placed transverse to the direction of the walk at intervals not to exceed 40 feet, unless otherwise shown.

3.04		PLACING CONCRETE DURING HOT AND COLD WEATHER

A.	Concrete deposited in cold weather shall conform with ACI 306 R.  No frozen materials or materials containing snow or ice shall be used in the mix.  No dependence shall be placed on salt or other chemicals for the prevention of freezing.  No concrete shall be placed on frozen subgrade.

B.	Concrete deposited in hot weather shall conform with ACE 305 R.  During hot weather, suitable precautions shall be taken to avoid drying of the concrete prior to finishing.  Windbreaks, sunshades, covering, fog sprays, etc. shall be used as required, or directed by the Authority.  Concrete deposited in hot weather shall have a placing temperature not greater than 80 degrees F., and shall be maintained at a temperature not greater than 90 degrees during the curing period.

3.05		CURING

A.	The surface of the newly placed concrete shall be wetted if it becomes dry before the curing material is placed.  The water shall be applied as a fine spray so that it will not mar or injure the surface.  The top and edges of the concrete shall not be unprotected for a period of more than 2 hour at the time the forms are removed.

B.	Curing shall be maintained for at least 7 days and may be accomplished by wetting and covering with wetted burlap, impermeable paper, polyethylene sheeting, or in lieu of wetting and covering by membrane spray.

3.06		INSPECTION AND TESTS

A.	Testing laboratory shall make the following inspections and tests:

1.	Test materials for compliance, or review available test reports.

2.	Inspect batch plant, batching, mixing and discharge facilities and report conditions relative to producing concrete meeting specified requirements.

3.	Verify Contractor's mix designs.

4.	Perform tests on placed concrete in accordance with ACI 301 and following:

a.	Perform compression strength test for each 25 cubic yards of concrete, or fraction thereof on specimens taken at point of discharge from the trucks immediately before placing.  Make a minimum of one strength test for concrete placed in one day.  A set of specimens for a test shall consist of three standard 6 x 12 cylinders, made and cured in accordance with ASTM C 31.  Test one cylinder at 7 days and two cylinders at 28 days.  The set of cylinders shall be picked up 24 hours after casting and shall be delivered to testing laboratory for further curing and for testing.

b.	Three additional concrete cylinders shall be made during a placement which requires temporary heating.  These cylinders shall be left in the enclosure in same environment as concrete placed.  One cylinder shall be tested at 3 days, one at 7 days and the third at 28 days to verify adequacy of temporary heating system.

c.	Perform slump tests in accordance with ASTM C 143.  Furnish slump cone at the site.  Perform a minimum of one slump test for each strength test.

d.	Test of air content in accordance with ASTM C 173 or ASTM C 231.  Furnish and maintain equipment for testing air content at the site.  Perform a minimum of one air content test for each strength test.

B.	If, in the opinion of the Authority, foregoing tests indicate concrete strengths below those required, or visual defects indicate concrete of poor quality has been placed, additional tests shall be made and reported as directed by the Authority at the expense of the Contractor.

3.07		BACKFILLING

A.	After the concrete has been cured, the spaces along the edges of the walks shall be backfilled to the required elevation with material approved by the Authority.  The material shall then be compacted until firm, and the surface neatly graded, with allowance made for topsoil.

3.08		PROTECTIVE COAT FOR WALKS

A.	The Contractor shall not use chemical de-icers on walks prior to acceptance of the walks by the Owner, or during the first year after the walks have been placed, if not yet accepted by the Owner.

B.	Concrete walks shall not be placed between September 15, and April 15 without the written approval of the , or the Owner.  All concrete walks shall be treated with one (1) coat of curing compound hereinbefore specified.  Apply compound in accordance with the manufacturer's recommendations.

END OF SECTION