SECTION 02528

CONCRETE CURBS

PART 1	GENERAL

1.01		WORK INCLUDED

A.	Concrete curbs as shown on the Drawings and specified herein.

1.02		RELATED WORK

A.	Specified elsewhere:

1.	Section 02505	- Paving.

2.	Section 02524	- Concrete Walks.

1.03		QUALITY ASSURANCE

A.	Curbs on public property shall comply with all laws, rules and regulations of governmental authorities having jurisdiction over such work.

1.04		REFERENCES

A.	American Concrete Institute (ACI).

1.	305R-77 Hot Weather Concreting.

2.	306R-78 cold Weather Concreting.

B.	American Society for Testing Materials (ASTM).

1.	A675-81A Standard Specification for Steel Bars, Carbon, Hot-Wrought Special Quality, Mechanical Properties.

2.	C31-69 Standard Method of Making and Curing Concrete Test Specimens in the Field.

3.	C33-82 Standard Specifications for Concrete Aggregates.

4.	C39-81 Standard Test Method for Compressive Strength of Cylindrical Concrete Specimens.

5.	C94-91 Standard Specification for Ready-Mixed Concrete.

6.	C143-78 Standard Test Method for Slump of Portland Cement Concrete.

7.	C150-81 Standard Specification for Portland Cement.

8.	C173-82 Standard Test Method for Air Content of Freshly Mixed Concrete by Volumetric Method.

9.	C192-81 Standard Method of Making and Curing Concrete Test Specimens in the Laboratory.

10.	C231-82 Standard Test Method for Air Content of

11.	D994-71 Standard Specification for Preformed Expansion Joint Filler for concrete (Asphalt Type).

12.	D1751-73 Standard Specification for Preformed Expansion Joint Fillers for concrete Paving and Structural Construction (Nonextruding and Resilient asphalt Types).

1.05		TESTING SERVICES

A.	The testing laboratory will be responsible for conducting and interpreting tests, state in each report whether or not the test specimens conform to all requirements of the Contract Documents and specifically note any deviation therefrom.

B.	Specific test and inspection requirements shall be as specified herein.

1.06		SUBMITTALS

A.	Submit the following in accordance with Section 01340:

1.	Mix Design:  Concrete mix design, including report on design strength test.

2.	Test reports on placed concrete:

a.	Tests of materials, or review of test reports available from suppliers.

b.	Field tests as specified herein.

1.07		DELIVERY, STORAGE AND HANDLING

A.	Deliver, handle and store material at the job site in such a manner as to prevent damage.  Packaged material shall be in original containers with seals unbroken and labels intact until time of use.  All damaged or otherwise unsuitable material when so ascertained shall be immediately removed from the job site.

PART 2	PRODUCTS

2.01		ACCEPTABLE MANUFACTURERS

A.	Sika Chemical Co.

Lyndhurst, NJ  07071

B.	Master Builders

Cleveland, OH  44118

C.	W.R. Grace

Cambridge, MA  02140

D.	W.R. Meadows, Inc.

Elgin, IL  60606

E.	Guardian Chemical Company

Atlanta, GA  30301

F.	Celotex Corporation

Tampa, FL  33622

2.02		MATERIALS

A.	Portland Cement:  ASTM C 150, Type 1, normal Portland cement; uniform gray color, from single source.

B.	Aggregates:  All fine and coarse aggregate shall conform to ASTM C 33.

1.	Fine Aggregates:  Natural or artificial, hard clean sand.

2.	Coarse Aggregates:  Crushed stone, size 57.

C.	Water:  Potable.

D.	Air Entraining Admixture:  ASTM C 260;

1.	Sika AER				Sika

2.	MB-VR				Master Builders

3.	Darex AEA				W.R. Grace

E.	Dowel Bars:  ASTM A 675, plain, with metal sleeves.

F.	Liquid Membrane Curing Compound (100 percent Resin Type):

ASTM C 309, Type 1;

1.	Horncure	30C			W.R. Grace

2.	1300 Series 				W.R. Meadows

3.	Clear Bond				Guardian Chemical

G.	Preformed Fiber Joint Filler:	ASTM D 1751;

1.	Fiber Expansion Joint Filler

Code 1390				W.R. Grace

2.	Fiber Expansion Joint			W.R. Meadows

3.	Flexcell				Celotex

non-extruding, for expansion joints which are to be sealed.

H.	Preformed Asphalt Joint Filler:  ASTM D 994;

1.	Code 1301				W.R. Grace

2.	Asphalt Expansion Joint		W.R. Meadows

3.	Elastite Asphalt Expansion Joint	Celotex

for expansion joints which are not sealed.

2.03		PROPORTIONING AND MIXING

A.	The testing laboratory shall design the mix for the concrete to obtain a strength, as determined by test cylinders, at least 15 percent higher than specified.

B.	The adequacy of the design shall be verified by tests on standard cylinders; 2 tested at 7 days and 2 at 28 days, in accordance with ASTM C 39 and C 192.

C.	The testing laboratory shall submit the copies of the mix design and the test results to the Authority for approval before any concrete is placed.

D.	Cement content shall be in accordance with the following minimum requirements:

1.	Design Strength			Cement Content

psi					sacks/cubic yard

4000					5.5

E.	Ready-Mixed Concrete shall conform with ASTM C 94.

F.	The mixture shall contain no more water than is necessary to produce concrete which is workable and plastic within the limits specified herein for slump.  The amount of water and proportion of mortar to coarse aggregate shall be the least which will produce uniformly dense concrete, free from aggregate pockets or honeycomb.  Corrections shall be made for the amount of moisture contained in the aggregates and allowances shall be made for absorption of moisture by the aggregates during the period of mixing and handling.  A uniform consistency shall be maintained continuously.  Mixture shall contain 5-7 percent air entrainment.  No calcium chloride shall be used.

G.	The consistency shall be determined by the method specified in ASTM C 143.

H.	In general the slump shall be not less than 3 nor more than 5 inches for concrete which is not compacted by vibration; and not less than 2 or more than 4 inches for concrete which is compacted by vibration.  In each of the above cases, slumps outside of the limits named may be used when satisfactory workability cannot be obtained within such limits and the slump is approved by the Authority.

PART 3	EXECUTION

3.01		PREPARING SUBGRADE

A.	Prior to fine grading, the rough grade shall be tamped or rolled until thoroughly compacted and shall be constructed true to grade and cross section.

B.	Fine grading and filling shall be performed using sand, or other granular subbase, uniformly graded.  Subgrade shall not be built-up under forms after forms are in place.  Subgrade shall be tested with an approved template.  High spots shall be lowered and low spots raised.  Subbase shall be compacted and leveled to grade.

C.	Wet the prepared subgrade to ensure a moist condition when concrete is placed.

3.02		FORMS FOR CURBS

A.	Curb forms shall be carefully set to alignment and grade and to conform to the dimensions of the curb.  All forms shall be held rigidly in place by the use of steel or wooden stakes placed at intervals not to exceed 4 feet.  The forms on the front of the curb shall not be removed less than 2 hours nor more than 6 hours after the concrete has been placed.  Forms for back of curbs shall remain in place until the face or top of the curb has been rubbed and finished.  In no event shall forms be removed while the concrete is sufficiently plastic to slump in any direction.  Forms shall be cleaned thoroughly each time they are used and coated with a light oil as often as necessary to prevent the concrete from adhering.

3.03		PLACING AND FINISHING CURBS

A.	Concrete shall be placed in the forms to the specified depth in 6 inch layers and thoroughly consolidated by tamping and spading so that there are no rock pockets at forms, and mortar entirely covers top surfaces.  The surface of the top of the curb shall be edged with the proper edging tool and floated and finished with a smooth wood float or a concrete rubbing block until it is true to grade and section and uniform in texture.  Ample water shall be used during the finishing operations.  Immediately after removing the front curb form, the face of the curb shall be rubbed with a wood or concrete rubbing block and water until all blemishes, form marks, and tool marks have been removed.  The face of the finished curb shall be true and straight, and the top surface of curbs shall be of uniform width, free from humps, sags, or other irregularities.  When a straightedge 10 feet long is laid on the top or face of the curb, the surface shall not vary more than 1/8 inch from the edge of the straightedge, except at grade changes or curves.  All visible surfaces and edges of the finished curb shall be free of all blemishes and form and tool marks and shall be uniform in color, shape, and appearance.

B.	Expansion joints and contraction joints shall be provided in all curbs, and shall be constructed at right angles to the line of curbs, as specified hereinafter and as shown.  Provide dowels with metal sleeves in expansion joints as required.

1.	Contraction joints shall be formed in the fresh concrete immediately after removal of the forms and as a part of the finishing operation.  Form contraction joints by cutting a groove 1-1/4 inches in depth in the top and face of the curb using an approved cutting tool having a blade 1/8 inch wide and jointer having a radius of 1/8 inch.

2.	Expansion joints shall be formed by means of the specified type preformed filler material, cut and shaped to the cross-section of the curb.  Expansion joints shall be provided in curbs at the ends of all returns and directly opposite the expansion joints of abutting concrete pavement, and unless otherwise shown shall be of the same thickness as the joints in the pavement.  Three-fourth inch (3/4 inch) thick expansion joints shall be placed at intervals not exceeding 60 feet except as otherwise shown.

3.04		PLACING CONCRETE DURING HOT AND COLD WEATHER

A.	Concrete deposited in cold weather shall conform with ACI 306 R.  No frozen materials or materials containing snow or ice shall be used in the mix.  No dependence shall be placed on salt or other chemicals for the prevention of freezing.  No concrete shall be placed on frozen subgrade.

B.	Concrete deposited in hot weather shall conform with ACI 305 R.  During hot weather, suitable precautions shall be taken to avoid drying of the concrete prior to finishing.  Windbreaks, sunshades, covering, fog sprays, etc. shall be used as required, or directed by the Authority.

3.05		CURING

A.	The surface of the newly placed concrete shall be wetted if it becomes dry before the curing material is placed.  The water shall be applied as a fine spray so that it will not mar or injure the surface.  The top and edges of the concrete shall not be unprotected for a period of more than 1/2 hour at the time the forms are removed.

B.	Curing shall be maintained for at least 7 days and may be accomplished by wetting and covering with wetted burlap, impermeable paper, polyethylene sheeting, or in lieu of wetting and covering by membrane spray.

3.06		INSPECTION AND TESTS

A.	Testing laboratory shall make the following inspections and tests:

1.	Test materials for compliance, or review available test reports.

2.	Inspect batch plant, batching, mixing and discharge facilities and report conditions relative to producing concrete meeting specified requirements.

3.	Verify Contractor's mix designs.

4.	Perform tests on placed concrete in accordance with ACI 301 and following:

a.	Perform compression strength test for each 25 cubic yards of concrete, or fraction thereof on specimens taken at point of discharge from the trucks immediately before placing.  Make a minimum of one strength test for concrete placed in one day.  A set of specimens for a test shall consist of three standard 6 x 12 cylinders, made and cured in accordance with ASTM C 31.  Test one cylinder at 7 days and two cylinders at 28 days.  The set of cylinders shall be picked up 24 hours after casting and shall be delivered to testing laboratory for further curing and for testing.

b.	Three additional concrete cylinders shall be made during a placement which requires temporary heating.  These cylinders shall be left in the enclosure in same environment as concrete placed.  One cylinder shall be tested at 3 days, one at 7 days and the third at 28 days to verify adequacy of temporary heating system.

c.	Perform slump tests in accordance with ASTM C 143.  Furnish slump cone at the site.  Perform a minimum of one slump test for each strength test.

d.	Test of air content in accordance with ASTM C 173 or ASTM C 231.  Furnish and maintain equipment for testing air content at the site.  Perform a minimum of one air content test for each strength test.

B.	If, in the opinion of the Authority, foregoing tests indicate concrete strengths below those required, or visual defects indicate concrete of poor quality has been placed, additional tests shall be made and reported as directed by the Authority at the expense of the Contractor.

3.07		BACKFILLING

A.	After the concrete has been cured, the spaces along the edges of the walks and curbs shall be backfilled to the required elevation with material approved by the Authority.  The material shall then be compacted until firm, and the surface neatly graded, with allowance made for topsoil.

END OF SECTION